Competences - 60 45 00 03 17 Ensure safety of mobile electrical systems

Page / - zuletzt bearbeitet von Randell Greenlee am 2022/02/14 06:01

60 45 00 03 17 Ensure safety of mobile electrical systems

zuletzt bearbeitet von Randell Greenlee

am 2022/02/14 06:01

Inhaltsverzeichnis

Title (60 45 00 03 17) Ensure safety of mobile electrical systems

ESCO description

In other languages

Development notes

Sectoral layer

Sectoral detail

Assessment

Training

References

Contents

Title (60 45 00 03 17) Ensure safety of mobile electrical systems

ESCO description

In other languages

Development notes

Sectoral layer

Scope note

Structure

Sectoral detail

Skills

Knowledge

Autonomy / attitude

Assessment

Self assessment

Mentor assessment

Acceptable assessment methods

Training

References

Title (60 45 00 03 17) Ensure safety of mobile electrical systems

ESCO description

Title	Ensure safety of mobile electrical systems
Description:	Take the necessary precautions while providing temporary power distribution independently. Measure and power up an installation.
Scope note:	This competence is limited to mobile, temporary installations with connectors. In some countries, working independently is related to a specific degree or certificate.
Concept URI:	http://data.europa.eu/esco/skill/39f55791-434d-4169-9a46-c000a2859a66
ESCO version:	1.08

In other languages

Deutsch:	Sicherheit mobiler elektrischer Systeme gewährleisten
Nederlands:	veiligheid van mobiele elektrische systemen garanderen
Italiano:	garantire la sicurezza degli impianti elettrici mobili

Development notes

Status: final read / / finalised (date)

(The notes below will be removed at the end of the project)

References?

Sectoral layer

Scope note

Limited to being able to calculate mono-phase and connect three-phase.

In some Member States, occupational health and safety regulations apply. These dictate special competences and relate to local regulations and standards.

The power distribution systems described here are temporary systems, either connected to a permanent power supply or a generator.

Structure

Field and subfield:	60 45
Place in the process:	00
Level:	03
Unique identifier:	17

Sectoral detail

Skills

put cables, fuse boards and splitters in place, based on written documentation

connect power (to main plug)

organize distribution according the needs and requirements of the equipment

calculate the power needs to avoid overloads

Knowledge

basic electrical concepts and calculations

electrical Risks

protection against electrical risks

cables and connections

body protection

eye and face protection

knowledge of the permanent electrical system

knows the need for the separate electrical zero for the different departments

know electrical regulations and code of practice

know the importance of a equipotential connections

Autonomy / attitude

Awareness of raised levels of risk

Assessment

Self assessment

I don't know how to take the necessary precautions while providing temporary power distribution independently. measure and power up an installation.

I am uncertain how to take the necessary precautions while providing temporary power distribution independently. measure and power up an installation.

I know how to take the necessary precautions while providing temporary power distribution independently. measure and power up an installation.

I am more than able to take the necessary precautions while providing temporary power distribution independently. measure and power up an installation.

Mentor assessment

... doesn't know how to take the necessary precautions while providing temporary power distribution independently. measure and power up an installation.

... is uncertain how to take the necessary precautions while providing temporary power distribution independently. measure and power up an installation.

... knows how to take the necessary precautions while providing temporary power distribution independently. measure and power up an installation.

... is more than able to take the necessary precautions while providing temporary power distribution independently. measure and power up an installation.

Acceptable assessment methods

Observation in a Simulated Environment

Observation on Site

Supportive:

Structured Portfolio

Criterion Based Interview

Training

It is necessary that routines in setting up power distribution systems in different situations and environments are performed. Different types of electrical loads and devices should be included in the training.

References

Germany: Fachkraft für Veranstaltungstechnik – Event Technology Specialist - Learning Area A: Skills, Knowledge and Competences – (Item 2.2) Installation and dismantling of temporary electrical distribution systems – BiBB Bundesinstitut für Berufsbildung, AUSBILDUNG GESTALTEN - Fachkraft für Veranstaltungstechnik, Bonn 2017, ISBN: 978-3-7639-5873-3 (Print), ISBN: 978-3-96208-021-1 (PDF)

Germany: Fachkraft für Veranstaltungstechnik – Event Technology Specialist - Learning Area A: Skills, Knowledge and Competences – (Item 2.3) Testing temporary electrical distribution systems – BiBB Bundesinstitut für Berufsbildung, AUSBILDUNG GESTALTEN - Fachkraft für Veranstaltungstechnik, Bonn 2017, ISBN: 978-3-7639-5873-3 (Print), ISBN: 978-3-96208-021-1 (PDF)

Germany: Fachkraft für Veranstaltungstechnik – Event Technology Specialist - Learning Area A: Skills, Knowledge and Competences – (Item 2.4) Operating temporary electrical distribution systems – BiBB Bundesinstitut für Berufsbildung, AUSBILDUNG GESTALTEN - Fachkraft für Veranstaltungstechnik, Bonn 2017, ISBN: 978-3-7639-5873-3 (Print), ISBN: 978-3-96208-021-1 (PDF)

Netherlands: Qualification File Stage and Event Technology, crebonumber 79040, learning area B1-K1: Bereidt de podiumproductie technisch voor. SBB, Sectorchambre ICT and Creative Industry, version 2022 (to be released August 2022), Zoetermeer 2021.