Competences - 60 45 00 03 17 Ensure safety of mobile electrical systems 

Page / - zuletzt bearbeitet von Randell Greenlee am 2022/02/14 06:01 

60 45 00 03 17 Ensure safety of mobile electrical systems 
zuletzt bearbeitet von Randell Greenlee
am 2022/02/14 06:01

Inhaltsverzeichnis
Title (60 45 00 03 17) Ensure safety of mobile electrical systems
ESCO description
In other languages
Development notes
Sectoral layer
Sectoral detail
Assessment
Training
References

Contents
•	Title (60 45 00 03 17) Ensure safety of mobile electrical systems
•	ESCO description
•	In other languages
•	Development notes
•	Sectoral layer
•	Scope note
•	Structure
•	Sectoral detail
•	Skills
•	Knowledge
•	Autonomy / attitude
•	Assessment
•	Self assessment
•	Mentor assessment
•	Acceptable assessment methods
•	Training
•	References
Title (60 45 00 03 17) Ensure safety of mobile electrical systems
ESCO description
Title	Ensure safety of mobile electrical systems	
Description:	Take the necessary precautions while providing temporary power distribution independently. Measure and power up an installation.	
Scope note:	This competence is limited to mobile, temporary installations with connectors. In some countries, working independently is related to a specific degree or certificate.	
Concept URI:	http://data.europa.eu/esco/skill/39f55791-434d-4169-9a46-c000a2859a66	
ESCO version:	1.08	
In other languages
Deutsch:	Sicherheit mobiler elektrischer Systeme gewährleisten	
Nederlands:	veiligheid van mobiele elektrische systemen garanderen	
Italiano:	garantire la sicurezza degli impianti elettrici mobili	

Development notes
Status: final read / / finalised (date)
(The notes below will be removed at the end of the project)
References?

Sectoral layer
Scope note
Limited to being able to calculate mono-phase and connect three-phase.
In some Member States, occupational health and safety regulations apply. These dictate special competences and relate to local regulations and standards. 
The power distribution systems described here are temporary systems, either connected to a permanent power supply or a generator. 
Structure
Field and subfield:	60 45	
Place in the process:	00	
Level:	03	
Unique identifier:	17	

Sectoral detail
Skills
•	put cables, fuse boards and splitters in place, based on written documentation
•	connect power (to main plug)
•	organize distribution according the needs and requirements of the equipment
•	calculate the power needs to avoid overloads
Knowledge
•	basic electrical concepts and calculations
•	electrical Risks
•	protection against electrical risks
•	cables and connections
•	body protection
•	eye and face protection
•	knowledge of the permanent electrical system
•	knows the need for the separate electrical zero for the different departments
•	know electrical regulations and code of practice
•	know the importance of a equipotential connections
Autonomy / attitude
•	Awareness of raised levels of risk

Assessment
Self assessment
 1.	I don't know how to take the necessary precautions while providing temporary power distribution independently. measure and power up an installation.
 2.	I am uncertain how to take the necessary precautions while providing temporary power distribution independently. measure and power up an installation.
 3.	I know how to take the necessary precautions while providing temporary power distribution independently. measure and power up an installation.
 4.	I am more than able to take the necessary precautions while providing temporary power distribution independently. measure and power up an installation.
Mentor assessment
 1.	... doesn't know how to take the necessary precautions while providing temporary power distribution independently. measure and power up an installation.
 2.	... is uncertain how to take the necessary precautions while providing temporary power distribution independently. measure and power up an installation.
 3.	... knows how to take the necessary precautions while providing temporary power distribution independently. measure and power up an installation.
 4.	... is more than able to take the necessary precautions while providing temporary power distribution independently. measure and power up an installation.
Acceptable assessment methods
•	Observation in a Simulated Environment
•	Observation on Site
•	Supportive:
•	Structured Portfolio
•	Criterion Based Interview

Training
It is necessary that routines in setting up power distribution systems in different situations and environments are performed. Different types of electrical loads and devices should be included in the training. 

References
•	Germany: Fachkraft für Veranstaltungstechnik – Event Technology Specialist - Learning Area A: Skills, Knowledge and Competences – (Item 2.2) Installation and dismantling of temporary electrical distribution systems – BiBB Bundesinstitut für Berufsbildung, AUSBILDUNG GESTALTEN - Fachkraft für Veranstaltungstechnik, Bonn 2017, ISBN: 978-3-7639-5873-3 (Print), ISBN: 978-3-96208-021-1 (PDF)
•	Germany: Fachkraft für Veranstaltungstechnik – Event Technology Specialist - Learning Area A: Skills, Knowledge and Competences – (Item 2.3) Testing temporary electrical distribution systems – BiBB Bundesinstitut für Berufsbildung, AUSBILDUNG GESTALTEN - Fachkraft für Veranstaltungstechnik, Bonn 2017, ISBN: 978-3-7639-5873-3 (Print), ISBN: 978-3-96208-021-1 (PDF)
•	Germany: Fachkraft für Veranstaltungstechnik – Event Technology Specialist - Learning Area A: Skills, Knowledge and Competences – (Item 2.4) Operating temporary electrical distribution systems – BiBB Bundesinstitut für Berufsbildung, AUSBILDUNG GESTALTEN - Fachkraft für Veranstaltungstechnik, Bonn 2017, ISBN: 978-3-7639-5873-3 (Print), ISBN: 978-3-96208-021-1 (PDF)
•	Netherlands: Qualification File Stage and Event Technology, crebonumber 79040, learning area B1-K1: Bereidt de podiumproductie technisch voor. SBB, Sectorchambre ICT and Creative Industry, version 2022 (to be released August 2022), Zoetermeer 2021.